## Sheet1
Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation |  |  |  |  | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation |  |  |  | ¦ | Micromeritics Instrument Corporation
TriStar II 3020 3.02 | TriStar II 3020 Version 3.02 | Page 1 |  | ¦ | TriStar II 3020 3.02 | TriStar II 3020 Version 3.02 | Page 1 |  |  | ¦ | TriStar II 3020 3.02 | TriStar II 3020 Version 3.02 | Page 1 |  | ¦ | TriStar II 3020 3.02 | TriStar II 3020 Version 3.02 | Page 1 |  | ¦ | TriStar II 3020 3.02 | TriStar II 3020 Version 3.02 | Page 1 |  | ¦ | TriStar II 3020 3.02 | TriStar II 3020 Version 3.02 | Page 1 |  | ¦ | TriStar II 3020 3.02 | TriStar II 3020 Version 3.02 | Page 1
| Serial # 1306 Unit 2 Port 2 |  |  | ¦ |  | Serial # 1306 Unit 2 Port 2 |  |  |  | ¦ |  | Serial # 1306 Unit 2 Port 2 |  |  | ¦ |  | Serial # 1306 Unit 2 Port 2 |  |  | ¦ |  | Serial # 1306 Unit 2 Port 2 |  |  | ¦ |  | Serial # 1306 Unit 2 Port 2 |  |  | ¦ |  | Serial # 1306 Unit 2 Port 2
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Sample: | Sample B |  |  | ¦ | Sample: | Sample B |  |  |  | ¦ | Sample: | Sample B |  |  | ¦ | Sample: | Sample B |  |  | ¦ | Sample: | Sample B |  |  | ¦ | Sample: | Sample B |  |  | ¦ | Sample: | Sample B
Operator: |  |  |  | ¦ | Operator: |  |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator: |  |  |  | ¦ | Operator:
Submitter: |  |  |  | ¦ | Submitter: |  |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter: |  |  |  | ¦ | Submitter:
File: |  |  |  | ¦ | File: |  |  |  |  | ¦ | File: |  |  |  | ¦ | File: |  |  |  | ¦ | File: |  |  |  | ¦ | File: |  |  |  | ¦ | File:
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Started: | 6/13/2017 7:56:30 AM | Analysis Adsorptive: | N2 | ¦ | Started: | 6/13/2017 7:56:30 AM | Analysis Adsorptive: | N2 |  | ¦ | Started: | 6/13/2017 7:56:30 AM | Analysis Adsorptive: | N2 | ¦ | Started: | 6/13/2017 7:56:30 AM | Analysis Adsorptive: | N2 | ¦ | Started: | 6/13/2017 7:56:30 AM | Analysis Adsorptive: | N2 | ¦ | Started: | 6/13/2017 7:56:30 AM | Analysis Adsorptive: | N2 | ¦ | Started: | 6/13/2017 7:56:30 AM | Analysis Adsorptive: | N2
Completed: | 6/13/2017 11:32:24 AM | Analysis Bath Temp.: | 77.300 K | ¦ | Completed: | 6/13/2017 11:32:24 AM | Analysis Bath Temp.: | 77.300 K |  | ¦ | Completed: | 6/13/2017 11:32:24 AM | Analysis Bath Temp.: | 77.300 K | ¦ | Completed: | 6/13/2017 11:32:24 AM | Analysis Bath Temp.: | 77.300 K | ¦ | Completed: | 6/13/2017 11:32:24 AM | Analysis Bath Temp.: | 77.300 K | ¦ | Completed: | 6/13/2017 11:32:24 AM | Analysis Bath Temp.: | 77.300 K | ¦ | Completed: | 6/13/2017 11:32:24 AM | Analysis Bath Temp.: | 77.300 K
Report Time: | 6/13/2017 11:32:24 AM | Thermal Correction: | No | ¦ | Report Time: | 6/13/2017 11:32:24 AM | Thermal Correction: | No |  | ¦ | Report Time: | 6/13/2017 11:32:24 AM | Thermal Correction: | No | ¦ | Report Time: | 6/13/2017 11:32:24 AM | Thermal Correction: | No | ¦ | Report Time: | 6/13/2017 11:32:24 AM | Thermal Correction: | No | ¦ | Report Time: | 6/13/2017 11:32:24 AM | Thermal Correction: | No | ¦ | Report Time: | 6/13/2017 11:32:24 AM | Thermal Correction: | No
Sample Mass: | 0.2880 g | Warm Free Space: | 9.4009 cm³ Measured | ¦ | Sample Mass: | 0.2880 g | Warm Free Space: | 9.4009 cm³ Measured |  | ¦ | Sample Mass: | 0.2880 g | Warm Free Space: | 9.4009 cm³ Measured | ¦ | Sample Mass: | 0.2880 g | Warm Free Space: | 9.4009 cm³ Measured | ¦ | Sample Mass: | 0.2880 g | Warm Free Space: | 9.4009 cm³ Measured | ¦ | Sample Mass: | 0.2880 g | Warm Free Space: | 9.4009 cm³ Measured | ¦ | Sample Mass: | 0.2880 g | Warm Free Space: | 9.4009 cm³ Measured
Cold Free Space: | 24.2351 cm³ | Equilibration Interval: | 3 s | ¦ | Cold Free Space: | 24.2351 cm³ | Equilibration Interval: | 3 s |  | ¦ | Cold Free Space: | 24.2351 cm³ | Equilibration Interval: | 3 s | ¦ | Cold Free Space: | 24.2351 cm³ | Equilibration Interval: | 3 s | ¦ | Cold Free Space: | 24.2351 cm³ | Equilibration Interval: | 3 s | ¦ | Cold Free Space: | 24.2351 cm³ | Equilibration Interval: | 3 s | ¦ | Cold Free Space: | 24.2351 cm³ | Equilibration Interval: | 3 s
Low Pressure Dose: | None | Sample Density: | 1.000 g/cm³ | ¦ | Low Pressure Dose: | None | Sample Density: | 1.000 g/cm³ |  | ¦ | Low Pressure Dose: | None | Sample Density: | 1.000 g/cm³ | ¦ | Low Pressure Dose: | None | Sample Density: | 1.000 g/cm³ | ¦ | Low Pressure Dose: | None | Sample Density: | 1.000 g/cm³ | ¦ | Low Pressure Dose: | None | Sample Density: | 1.000 g/cm³ | ¦ | Low Pressure Dose: | None | Sample Density: | 1.000 g/cm³
Automatic Degas: | No |  |  | ¦ | Automatic Degas: | No |  |  |  | ¦ | Automatic Degas: | No |  |  | ¦ | Automatic Degas: | No |  |  | ¦ | Automatic Degas: | No |  |  | ¦ | Automatic Degas: | No |  |  | ¦ | Automatic Degas: | No
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Comments: Sample that was stopped during collection. |  |  |  | ¦ | Comments: Sample that was stopped during collection. |  |  |  |  | ¦ | Comments: Sample that was stopped during collection. |  |  |  | ¦ | Comments: Sample that was stopped during collection. |  |  |  | ¦ | Comments: Sample that was stopped during collection. |  |  |  | ¦ | Comments: Sample that was stopped during collection. |  |  |  | ¦ | Comments: Sample that was stopped during collection.
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Summary Report |  |  |  | ¦ | Isotherm Tabular Report |  |  |  |  | ¦ | Isotherm Linear Plot |  |  |  | ¦ | BET Reports |  |  |  | ¦ | BJH Adsorption Reports |  |  |  | ¦ | BJH Desorption Reports |  |  |  | ¦ | DFT Pore Size Reports
|  |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | Relative Pressure (P/Po) | Absolute Pressure (mmHg) | Quantity Adsorbed (cm³/g STP) | Elapsed Time (h:min) | Saturation Pressure (mmHg) | ¦ |  |  |  |  | ¦ | Primary Data |  |  |  | ¦ | Primary Data |  |  |  | ¦ | Primary Data |  |  |  | ¦ | Primary Data
|  |  |  | ¦ |  |  |  | 01:33 | 745.7227 | ¦ | FT-NuMat5-040317 - Adsorption |  |  |  | ¦ | BET Calculation: At least 2 Points must be supplied for the BET Calculation's Least Squares Fit |  |  |  | ¦ | 1043- Fewer than 2 points available for BJH Adsorption calculations. |  |  |  | ¦ | 1043- Fewer than 2 points available for BJH Desorption calculations. |  |  |  | ¦
Surface Area |  |  |  | ¦ | 0.00035662 | 0.26595 | 28.3348 | 01:39 | 745.7363 | ¦ | Relative Pressure (P/Po) | Quantity Adsorbed (cm³/g STP) |  |  | ¦ | 1023- Preparations failed in primary data. |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
|  |  |  | ¦ | [5 empty] | ¦ | 0.00035662 | 28.3348 |  |  | ¦ | BET Calculation: At least 2 Points must be supplied for the BET Calculation's Least Squares Fit |  |  |  | ¦ |  |  |  |  | ¦ |  |  |  |  | ¦
Single point surface area at P/Po = 0.053488186: | 123.2857 m²/g |  |  | ¦ | [5 empty] | ¦ |  |  |  |  | ¦ | 1023- Preparations failed in primary data. |  |  |  | ¦
|  |  |  | ¦ | [10 empty] | ¦ | BET Calculation: At least 2 Points must be supplied for the BET Calculation's Least Squares Fit |  |  |  | ¦
|  |  |  | ¦ | [10 empty] | ¦ | 1023- Preparations failed in primary data. |  |  |  | ¦
|  |  |  | ¦ | [10 empty] | ¦ |  |  |  |  | ¦
Pore Volume |  |  |  | ¦ | [10 empty] | ¦ |  |  |  |  | ¦
¦
Single point adsorption total pore volume of pores |  |  |  | ¦
less than 1,014.139 Å diameter at P/Po = 0.980529711: | 0.000000 cm³/g |  |  | ¦
¦
Single point desorption total pore volume of pores |  |  |  | ¦
less than 1,388.871 Å diameter at P/Po = 0.985866473: | 0.000000 cm³/g |  |  | ¦
¦
¦
¦
Pore Size |  |  |  | ¦
¦
Adsorption average pore diameter (4V/A by single point): | 0.0000 Å |  |  | ¦
¦
Desorption average pore diameter (4V/A by single point): | 0.0000 Å |  |  | ¦
¦
¦
¦